## deployment-combined
File_Number | checkout | Site | Seapac_SN | Current_Sensor_SN | Current_Sensor | Modem_Type | Deployment_Ship | Dep-date-time | Recovery date-time | Recovery_Ship | Deployed_Days | inclination | Comments
40015-01-13-99 | 1 | R | 40015 |  | B-1539 | Motorola | R/V Gyre | 1999-02-28 | 1999-08-15 | R/V Gyre | 168
0109-11-01-02 | 2 | W | 109 | 31 | DCS/31 | Motorola | R/V Longhorn | 2002-11-21 | 2003-01-31 | R/V Gyre | 71
0109-02-13-03 | 3 | F | 109 | 31 | DCS/31 | Motorola | R/V Longhorn | 2003-07-20 | 2004-02-24 | R/V Gyre | 219
0109-05-03-04 | 4 | W | 109 | 278 | DCS3900R | Globalstar | R/V Longhorn | 2004-09-29 12:30 | 2005-05-18 | R/V Longhorn | 22 | 3.37 | Wireless_communication_of_data
0109-10-26-04 | 5 | B | 109 | 278 | DCS352 | Globalstar | R/V Gyre | 2005-01-10 00:30 | 2005-02-08 | R/V Gyre | 29 | 4.23 | -
0109-02-23-06 | 6 | W | 109 | 112 | DCS3900R | Globalstar | R/V Longhorn | 2006-04-11 22:30 | 2006-08-25 10:30 | R/V Longhorn | 136 | 3.37
0109-10-02-06 | 7 | R | 109 | 112 | DCS3900 | Globalstar | R/V Ferrel | 2007-02-12 21:30 | 2007-11-14 04:00 | R/V Brooks McCall | 274 | 3.43 | -
0111-05-03-02 | 8 | W | 111 | 73 | DCS/73 | Motorola | R/V Longhorn | 2002-05-15 | 2002-07-26 | R/V Longhorn | 72
0111-07-03-03 | 9 | D | 111 | 31 | DCS-31 | Globalstar | R/V Longhorn | 2003-07-22 | 2003-09-08 | R/V Gyre | 48 | 5.33 | -
0111-01-15-04 | 10 | R | 111 | 289 | DCS/289 | Motorola | R/V Gyre | 2004-02-24 | 2004-03-21 | R/V Gyre | 26
0111-04-13-04 | 11 | R | 111 | 271 | DCS3900 | Globalstar | R/V Gyre | 2004-07-22 19:00 | 2005-02-10 | R/V Gyre | 201 | 3.43 | -
0111-02-14-05 | 12 | D | 111 | 276 | DCS-278 | Globalstar | R/V Gyre | 2005-05-18 06:30 | 2005-10-09 | R/V Longhorn | 144 | 5.33 | -
0111-10-18-05 | 13 | W | 111 | 67 | DCS3900R | Globalstar | R/V Gyre | 2006-02-03 14:00 | 0.72917 | R/V Longhorn | 68 | 3.37 | Went_adrift_on_04/09/2006.
0111-04-20-06 | 14 | D | 111 | 67 | DCS/67 | Globalstar | R/V Longhorn | 2006-06-15 02:30 | 2007-03-07 18:00 | R/V Ferrel | 269 | 5.33 | -
0111-03-26-07 | 15 | W | 111 | 67 | DCS3900R | Globalstar | R/V Brooks McCall | 2007-12-05 04:00 | 2007-12-07 18:30 | R/V Brooks McCall | 3 | 3.37
0110-07-02-02 | 16 | R | 110 | 19 | DCS/19 | Motorola | R/V Gyre | 2002-07-13 | 2002-11-10 | R/V Gyre | 120
0110-07-24-03 | 17 | W | 110 | 93 | DCS3900R | Motorola | R/V Gyre | 2003-09-08 | 2003-10-27 23:30 | R/V Gyre | 49 | 3.37 | Wireless_communication_of_data
0110-10-05-05 | 18 | D | 110 | 271 | DCS/271 | Globalstar | R/V Longhorn | 2005-10-13 00:30 | 2006-06-15 00:30 | R/V Longhorn | 244 | 5.33 | -
0110-07-27-06 | 19 | W | 110 | 63 | DCS3900R | Globalstar | R/V Longhorn | 2006-08-26 03:30 | 2007-03-09 | R/V Ferrel | 197 | 3.37
0110-04-18-07 | 20 | R | 110 | 63 | DCS3900 | Globalstar | R/V Brooks McCall | 2007-11-14 04:30 | 2008-10-08 | R/V Brooks McCall | 330 | 3.43 | -
0110-11-13-08 | 21 | D | 110 | 63 | DCS/63 | Globalstar | R/V Brooks McCall | 2009-01-23 13:30 | 2009-08-14 12:00 | R/V Ferrel | 203 | 5.33 | -
0110-08-03-10 | 22 | W | 110 |  | DCS/63 | Globalstar | DSV Gulf Freedom | 2010-10-15 | 2011-05-09 | R/V Ferrel | 206
40014-04-19-02 | 23 | D | 40014 | 42 | DCS-42 | Motorola | R/V Longhorn | 2002-05-15 | 2002-11-21 | R/V Longhorn | 190 | 5.33 | -
40014-10-16-03 | 24 | W | 40014 | 42 | DCS3900R | Motorola | R/V Gyre | 2003-10-28 | 2004-02-22 19:00 | R/V Longhorn | 255 | 3.37 | Wireless_communication_of_data
40014-09-07-04 | 25 | D | 40014 | 389 | DCS-278 | Globalstar | R/V Longhorn | 2004-09-29 07:30 | 2005-05-18 | R/V Longhorn | 24 | 5.33 | -
40014-10-28-04 | 26 | R | 40014 | 289 | DCS3900 | Globalstar | R/V Gyre | 2005-02-10 | 2005-07-11 09:00 | R/V Gyre | 151 | 3.43 | -
40014-07-19-05 | 27 | R | 40014 | 289 | DCS3900 | Globalstar | R/V Gyre | 2005-08-24 00:30 | 2005-10-09 | R/V Longhorn | 46 | 3.43 | -
40014-05-05-06 | 29 | R | 40014 | 289 | DCS3900 | Globalstar | R/V Longhorn | 2006-06-16 07:30 | 2006-10-03 04:00 | R/V Ferrel | 241 | 3.43 | -
40014-07-15-08 | 31 | R | 40014 | 133 | DCS3900 | Globalstar | R/V Ferrel | 2008-09-25 06:30 | 2009-06-19 04:30 | R/V Ferrel | 267 | 3.43 | -
40014-07-16-09 | 32 | D | 40014 | 133 | DCS/133 | Globalstar | R/V Ferrel | 2009-08-14 12:30 | 2010-03-25 01:00 | R/V Brooks McCall | 223 | 5.33 | -
40014-04-09-10 | 33 | R | 40014 | 133 | DCS3900 | Globalstar | DSV Gulf Freedom | 2010-08-19 | 2010-12-31 | R/V Ferrel | 264 | 3.43 | -
40018-09-24-02 | 34 | W | 40018 | 178 | DCS/178 | Motorola | R/V Gyre | 2002-11-07 | 2002-11-21 | R/V Gyre | 14
40018-12-17-02 | 35 | W | 40018 | 178 | DCS/178 | Motorola | R/V Gyre | 2003-01-31 | 2003-09-08 | R/V Gyre | 220
40018-10-03-03 | 36 | W | 40018 | 280 | DCS3900R | Motorola | R/V Gyre | 2004-02-22 19:00 | 2004-09-29 12:00 | R/V Longhorn | 220 | 3.37 | Wireless_communication_of_data
40018-05-10-05 | 37 | W | 40018 | 16 | DCS3900R | Globalstar | R/V Gyre | 2005-05-18 00:30 | 2005-08-14 | R/V Longhorn | 87 | 3.37 | Wireless_communication_of_data
40018-12-20-05 | 38 | F | 40018 | 64 | DCS3900 | Globalstar | R/V Gyre | 2006-02-21 18:30 | 2006-08-25 12:30 | R/V Longhorn | 186 | 3.83 | -
40018-12-21-06 | 39 | D | 40018 | 64 | DCS/64 | Globalstar | R/V Brooks McCall | 2008-10-09 19:30 | 2009-01-02 | Truck | 84 | 5.33 | -
40016-03-21-02 | 40 | F | 40016 | 20 | DCS3900 | Motorola | R/V Gyre | 2002-04-17 | 2002-09-11 | R/V Gyre | 206 | 3.83 | -
40016-09-02-03 | 41 | D | 40016 | 278 | DCS-278 | Globalstar | R/V Gyre | 2003-09-08 | 2004-03-19 00:30 | R/V Gyre | 192 | 5.33 | -
40016-09-24-04 | 42 | W | 40016 | 280 | DCS/280 | Globalstar | R/V Longhorn | 2004-10-21 | 2005-05-18 | R/V Gyre | 209
40016-12-01-05 | 43 | J | 40016 | 69 | DCS3900 | Globalstar | R/V Gyre | 2006-02-05 01:00 | 2006-09-14 03:30 | R/V Longhorn | 222 | 5.48 | -
40016-01-08-07 | 44 | F | 40016 | 69 | DCS3900 | Globalstar | R/V Ferrel | 2007-03-10 02:00 | 2007-11-14 20:00 | R/V Brooks McCall | 249 | 3.83 | -
40016-01-25-08 | 45 | D | 40016 | 69 | DCS/69 | Globalstar | DSV Gulf Freedom | 2008-07-08 13:30 | 2008-10-09 18:30 | R/V Brooks McCall | 93 | 5.33 | -
40016-03-23-09 | 46 | F | 40016 | 69 | DCS3900 | Globalstar | R/V Ferrel | 2009-06-19 03:00 | 2009-11-19 02:00 | R/V Ferrel | 154 | 3.83 | -
40016-01-25-10 | 47 | D | 40016 | 69 | DCS/69 | Globalstar | R/V Brooks McCall | 2010-03-25 05:00 | 2010-04-12 12:00 | Truck | 16 | 5.33 | -
50040-03-15-04 | 49 | D | 50040 | 178 | DCS3900 | Globalstar | R/V Gyre | 2004-03-19 05:30 | 2004-09-29 07:00 | R/V Longhorn | 194 | 5.33 | -
50040-10-08-04 | 51 | D | 50040 | 362 | DCS/362 | Globalstar | R/V Longhorn | 2004-10-22 | 2005-05-18 | R/V Gyre | 208
50040-10-06-06 | 52 | F | 50040 | 64 | DCS3900 | Globalstar | R/V Ferrel | 2007-02-12 05:00 | 2007-03-10 01:30 | R/V Ferrel | 27 | 3.83 | -
50040-04-11-07 | 53 | D | 50040 | 64 | DCS4100R | Globalstar | R/V Brooks McCall | 2007-12-07 04:30 | 2008-07-08 13:00 | DSV Gulf Freedom | 215 | 5.33 | -
50040-07-15-08 | 54 | F | 50040 | 64 | DCS4100R | Globalstar | R/V Ferrel | 2008-09-28 | 2009-05-26 | Truck | 240
50040-05-28-09 | 55 | W | 50040 | 64 | DCS4100R/64 | Globalstar | R/V Ferrel | 2009-08-14 20:00 | 2010-03-24 22:30 | R/V Brooks McCall | 223 | 3.37 | -
50040-04-07-10 | 56 | F | 50040 | 65 | DCS4100R/65 | Globalstar | DSV Gulf Freedom | 2010-08-20 | 2011-05-07 | R/V Ferrel | 260
50039-09-27-02 | 57 | F | 50039 | 17 | DCS/17 | Motorola | R/V Gyre | 2002-11-09 | 2003-07-20 | R/V Longhorn | 253
50039-02-12-04 | 58 | R | 50039 | 289 | DCS3900 | Motorola | R/V Gyre | 2004-03-21 12:30 | 2004-07-22 18:00 | R/V Gyre | 123 | 3.43 | -
50039-09-12-05 | 60 | W | 50039 | 280 | DCS/280 | Globalstar | R/V Longhorn | 2005-09-17 | 2006-02-03 | R/V Gyre | 139
50039-02-08-06 | 61 | R | 50039 |  | DCS/280 | Globalstar | R/V Gyre | 2006-02-21 | 2006-06-16 | R/V Longhorn | 115
50039-08-01-06 | 62 | F | 50039 | 126 | DCS3900 | Globalstar | R/V Longhorn | 2006-08-25 14:00 | 2007-02-11 20:00 | R/V Ferrel | 171 | 3.83 | -
50039-02-22-07 | 63 | J | 50039 |  | DCS/126 | Globalstar | R/V Ferrel | 2007-03-09 | 2007-05-03 | Truck | 55
50039-05-04-07 | 64 | F | 50039 | 126 | DCS3900 | Globalstar | R/V Brooks McCall | 2007-11-14 20:30 | 2008-09-26 03:00 | R/V Ferrel | 318 | 3.83 | -
50039-10-02-08 | 65 | W | 50039 | 126 | DCS3900R | Globalstar | R/V Brooks McCall | 2008-10-09 14:30 | 2008-11-20 05:30 | Truck | 42 | 3.37 | Went_adrift_on_?._Recovered_on_San_Jose_Island
50039-04-06-09 | 66 | R | 50039 | 126 | DCS3900 | Globalstar | R/V Ferrel | 2009-06-19 19:30 | 2009-11-18 04:00 | R/V Ferrel | 152 | 3.43 | -
50039-02-08-10 | 67 | W | 50039 | 126 | DCS3900R | Globalstar | R/V Brooks McCall | 2010-03-27 02:30 | 2010-12-31 | DSV Gulf Freedom | 204 | 3.37 | -
80086-10-15-02 | 70 | R | 80086 | 16 | DCS3900 | Motorola | R/V Gyre | 2002-11-10 | 2003-07-21 21:00 | R/V Longhorn | 251 | 3.43 | -
80086-04-19-04 | 71 | F | 80086 | 16 | DCS3900 | Globalstar | R/V Gyre | 2004-07-21 16:00 | 2005-02-08 | R/V Gyre | 202 | 3.83 | -
80086-01-05-07 | 72 | W | 80086 | 66 | DCS3900R | Globalstar | R/V Ferrel | 2007-03-09 00:30 | 2007-12-05 03:30 | R/V Brooks McCall | 270 | 3.37
80086-02-01-08 | 73 | W | 80086 | 66 | DCS3900R | Globalstar | DSV Gulf Freedom | 2008-07-10 00:30 | 2008-10-05 18:00 | Truck | 96 | 3.37 | Went_adrift_on_?._Recovered_on_Matagorda_Island
80086-10-23-08 | 74 | J | 80086 | 66 | DCS3900 | Globalstar | R/V Brooks McCall | 2009-01-24 05:00 | 2009-08-13 20:30 | R/V Ferrel | 202 | 5.48 | -
80086-09-04-09 | 75 | R | 80086 | 66 | DCS3900 | Globalstar | R/V Ferrel | 2009-11-18 11:30 | 2009-11-21 16:00 | R/V Ferrel | 4 | 3.43 | -
80085-07-17-02 | 76 | W | 80085 | 173 | DCS/173 | Motorola | R/V Longhorn | 2002-07-26 | 2002-10-25 | R/V Longhorn | 91
80085-11-15-02 | 77 | D | 80085 | 173 | DCS-173 | Motorola | R/V Longhorn | 2002-11-21 | 2003-01-31 | R/V Gyre | 71 | 5.33 | -
80085-03-11-04 | 79 | F | 80085 | 173 | DCS3900 | Globalstar | R/V Gyre | 2004-03-21 05:30 | 2004-07-21 15:30 | R/V Gyre | 123 | 3.83 | -
80085-07-27-04 | 80 | J | 80085 | 173 | DCS3900 | Globalstar | R/V Longhorn | 2004-08-18 12:30 | 2005-05-17 10:00 | R/V Gyre | 272 | 5.48 | -
80085-06-07-05 | 81 | R | 80085 | 362 | DCS3900 | Globalstar | R/V Gyre | 2005-07-11 09:30 | 2005-08-24 | R/V Gyre | 44 | 3.43 | -
80085-10-05-05 | 82 | R | 80085 | 362 | DCS3900 | Globalstar | R/V Longhorn | 2005-10-11 | 2006-06-16 07:00 | R/V Gyre | 133 | 3.43 | -
80085-08-31-06 | 83 | J | 80085 | 362 | DCS3900 | Globalstar | R/V Longhorn | 2006-09-14 14:30 | 2007-03-08 20:00 | R/V Ferrel | 176 | 5.48 | -
80085-04-22-08 | 84 | J | 80085 | 362 | DCS3900 | Globalstar | DSV Gulf Freedom | 2008-07-07 18:30 | 2008-10-10 11:00 | R/V Brooks McCall | 95 | 5.48 | -
80085-10-27-08 | 85 | W | 80085 | 233 | DCS3900R | Globalstar | R/V Brooks McCall | 2009-01-23 06:00 | 2009-08-14 19:30 | R/V Ferrel | 204 | 3.37 | -
80085-08-24-09 | 86 | F | 80085 | 233 | DCS3900 | Globalstar | R/V Ferrel | 2009-11-19 03:30 | 2010-12-31 | DSV Gulf Freedom | 274 | 3.83 | -
80085-08-27-10 | 87 | D | 80085 |  | DCS/233 | Globalstar | DSV Gulf Freedom | 2010-10-15 | 2011-05-07 | R/V Ferrel | 204
001-08-14-02 | 88 | K | System 1 | 96 | DCS/96 | Globalstar | R/V Longhorn | 2002-09-12 | 2003-01-30 | R/V Gyre | 140
001-07-03-03 | 90 | B | System 1 | 96 | DCS96 | Globalstar | R/V Gyre | 2003-07-21 | 2004-02-22 10:30 | R/V Gyre | 216 | 4.23 | -
001-05-10-05 | 92 | K | System 1 | 352 | DCS3900R | Globalstar | R/V Gyre | 2005-05-14 06:30 | 2005-09-25 | missing | 130 | 5.38 | -
002-05-29-02 | 93 | B | System 2 | 110 | DCS3900 | Globalstar | R/V Gyre | 2002-07-14 | 2002-09-13 | R/V Longhorn | 61 | 4.23 | -
002-08-04-03 | 94 | J | System 2 | 223 | DCS3900 | Globalstar | R/V Gyre | 2003-09-10 05:00 | 2004-03-19 | R/V Gyre | 192 | 5.48 | -
002-04-19-04 | 95 | J | System 2 | 355 | DCS3900 | Globalstar | R/V Longhorn | 2004-07-07 22:00 | 2004-07-24 17:30 | Truck | 19 | 5.48 | -
002-07-29-04 | 96 | K | System 2 | 355 | B-1509 | Globalstar | R/V Longhorn | 2004-08-18 | 2005-05-17 06:00 | R/V Gyre | 273 | 5.38 | -
002-06-03-05 | 97 | J | System 2 | 355 | DCS3900 | Globalstar | R/V Longhorn | 2005-08-12 17:30 | 2005-10-09 | Osprey Charters | 89 | 5.48 | -
002-11-15-05 | 98 | K | System 2 | 355 | DCS/355 | Globalstar | R/V Gyre | 2006-02-06 | 2006-09-14 | R/V Longhorn | 220
002-09-22-06 | 99 | B | System 2 | 355 | DCS/355 | Globalstar | R/V Ferrel | 2007-02-12 10:00 | 2007-11-15 00:30 | R/V Brooks McCall | 275 | 4.23 | -
002-11-20-07 | 100 | K | System 2 | 214 | DCS3900 | Globalstar | DSV Gulf Freedom | 2008-07-07 23:00 | 2008-10-10 17:00 | missing |  | 5.38 | -
003-04-22-02 | 101 | K | System 3 | 19 | DCS/19 | Globalstar | R/V Longhorn | 2002-05-14 | 2002-08-02 | missing | 80
004-04-10-01 | 102 | J | System 4 |  | DCS3900 | Sat | R/V Longhorn | 2001-04-27 13:30 | 2001-05-10 13:30 | R/V Longhorn | 14 | 5.48 | Hit_by_ship._Data_ceases_on_4/30/2001.
004-02-27-02 | 103 | B | System 4 | 45 | DCS3900 | Globalstar | R/V Gyre | 2002-04-15 | 2002-07-14 | R/V Gyre | 90 | 4.23 | -
004-08-13-02 | 104 | J | System 4 | 45 | DCS/45 | Globalstar | R/V Longhorn | 2002-09-12 | 2003-01-30 | R/V Gyre | 140
005-08-14-02 | 109 | N | System 5 | 109 | DCS109 | Globalstar | R/V Gyre | 2002-11-09 | 2002-11-18 14:00 | R/V Gyre | 81 | 3.98 | Data_ceases_after_11/18/2002
005-03-03-03 | 110 | N | System 5 | 113 | DCS094 | Globalstar | R/V Gyre | 2006-03-04 20:00 | 2006-08-24 18:00 | R/V Longhorn | 173 | 3.98 | -
005-02-23-06 | 111 | N | System 5 | 113 | DCS094 | Globalstar | R/V Longhorn | 2006-08-25 | 2007-02-11 08:00 | R/V Ferrel | 171 | 3.98 | -
005-09-09-08 | 113 | V | System 5 | 68 | DCS4100R | Globalstar | R/V Ferrel | 2008-09-27 | 2009-03-04 | R/V Brooks McCall | 158
006-06-26-02 | 114 | N | System 6 | 109 | DCS109 | Globalstar | R/V Gyre | 2002-07-12 | 2002-07-25 | R/V Longhorn | 13 | 3.98 | -
006-08-18-03 | 115 | V | System 6 | 42 | DCS70 | Globalstar | R/V Longhorn | 2004-08-19 15:30 | 2005-02-09 | R/V Gyre | 174 | 4.75 | -
006-09-01-05 | 116 | V | System 6 | 222 | DCS/222 | Globalstar | R/V Longhorn | 2005-10-11 | 2006-03-04 23:30 | R/V Gyre | 146 | 4.75 | -
006-09-19-06 | 117 | V | System 6 | 506 | DCS/506 | Globalstar | R/V Ferrel | 2007-02-12 01:00 | 2007-11-13 22:00 | R/V Brooks McCall | 273 | 4.75 | -
008-11-04-05 | 119 | A-2 | System 8 | 68 | DCS4100/ADCP003 | Globalstar | POWHATAN | 2005-12-07 07:00 | 2006-03-05 23:30 | R/V Gyre | 88 | 3 | Rebel_barge_oil_spill
008-04-26-06 | 120 | B | System 8 | 363 | DCS/363 | Globalstar | R/V Longhorn | 2006-06-15 20:00 | 2006-07-07 22:30 | R/V Longhorn | 23 | 4.23 | -
008-08-30-06 | 121 | K | System 8 | 363 | DCS/363 | Globalstar | R/V Longhorn | 2006-09-15 | 2007-03-09 04:00 | R/V Ferrel | 176 | 5.38 | -
008-04-19-07 | 122 | B | System 8 | 363 | DCS/363 | Globalstar | R/V Brooks McCall | 2007-11-15 01:00 | 2008-07-06 | DSV Gulf Freedom | 234 | 4.23 | -
008-08-08-08 | 123 | B | System 8 | 363 | DCS/363 | Globalstar | R/V Ferrel | 2008-09-25 16:30 | 2009-06-19 | R/V Ferrel | 267 | 4.23 | -
008-07-15-09 | 124 | J | System 8 | 67 | DCS3900 | Globalstar | R/V Ferrel | 2009-08-13 21:00 | 2009-11-20 15:00 | R/V Ferrel | 99 | 5.48 | -
008-05-06-10 | 125 | B | System 8 |  | DCS/209 | Globalstar | DSV Gulf Freedom | 2010-08-20 | 2011-01-21 | R/V Brooks McCall | 154
009-10-07-05 | 126 | B | System 9 | 507 | DCS/507 | Globalstar | R/V Longhorn | 2005-10-11 | 2006-06-15 19:00 | R/V Longhorn | 247 | 4.23 | -
009-07-03-06 | 127 | B | System 9 | 507 | DCS/507 | Globalstar | R/V Longhorn | 2006-07-08 | 2007-02-10 23:30 | R/V Ferrel | 219 | 4.23 | -
009-02-23-07 | 128 | K | System 9 | 507 | DCS/507 | Globalstar | R/V Ferrel | 2007-03-09 04:30 | 2007-12-05 23:30 | R/V Brooks McCall | 272 | 5.38 | -
009-01-29-08 | 129 | B | System 9 | 507 | DCS/507 | Globalstar | DSV Gulf Freedom | 2008-07-06 03:00 | 2008-09-24 15:00 | R/V Ferrel | 82 | 4.23 | -
009-12-05-08 | 130 | B | System 9 | 507 | DCS/507 | Globalstar | R/V Ferrel | 2009-06-19 09:30 | 2009-11-18 21:00 | R/V Ferrel | 152 | 4.23 | -
009-01-12-10 | 131 | K | System 9 | 507 | DCS/507 | Globalstar | R/V Brooks McCall | 2010-03-25 01:30 | 2010-12-31 | DSV Gulf Freedom | 203 | 5.38 | -
010-10-07-05 | 132 | N | System 10 | 508 | DCS/508 | Globalstar | R/V Longhorn | 2005-10-11 00:30 | 2006-03-03 22:00 | R/V Gyre | 144 | 3.98 | -
010-07-11-06 | 133 | V | System 10 | 508 | DCS/508 | Globalstar | R/V Longhorn | 2006-08-25 05:30 | 2006-09-29 13:30 | R/V Ferrel | 170 | 4.75 | -
010-02-28-07 | 134 | N | System 10 | 508 | DCS/508 | Globalstar | R/V Ferrel | 2007-03-08 10:00 | 2007-11-13 15:00 | R/V Brooks McCall | 249 | 3.98 | -
010-12-14-07 | 135 | N | System 10 |  | DCS/508 | Globalstar | R/V Ferrel | 2008-09-27 | 2009-08-12 | R/V Ferrel | 319
012-10-11-09 | 136 | N | System 12 | 114 | DCS/114 | Globalstar | R/V Ferrel | 2010-02-18 16:00 | 2010-12-31 | DSV Gulf Freedom | 183 | 3.98 | -
012-11-24-10 | 137 | V | System 12 |  | DCS/114 | Globalstar | R/V Ferrel | 2011-05-06
014-05-07-02 | 139 | J | System 14 | 43 | DCS/43 | Globalstar | R/V Longhorn | 2002-05-15 | 2002-09-12 | R/V Longhorn | 120
015-04-12-02 | 141 | V | System 15 | 70 | DCS70 | Globalstar | R/V Gyre | 2002-04-17 | 2003-01-29 | R/V Gyre | 287 | 4.75 | -
016-12-12-02 | 142 | N | System 16 | 94 | DCS/094 | Globalstar | R/V Gyre | 2003-01-29 | 2003-10-27 | R/V Gyre | 271
016-02-05-04 | 143 | N | System 16 | 276 | DCS094 | Globalstar | R/V Gyre | 2004-02-23 15:30 | 2004-07-22 | R/V Gyre | 149 | 3.98 | -
017-01-03-03 | 144 | K | System 17 | 44 | DCS/44 | Globalstar | R/V Gyre | 2003-01-30 | 2003-09-09 | R/V Gyre | 222
018-09-12-07 | 145 | K | System 18 | 216 | DCS3900 | Globalstar | R/V Brooks McCall | 2007-12-06 | 2008-06-23 | DSV Gulf Freedom | 215 | 5.38 | Went_adrift_on.
018-08-06-08 | 146 | J | System 18 | 216 | DCS3900 | Globalstar | R/V Brooks McCall | 2008-10-10 13:00 | 2009-01-24 04:30 | R/V Brooks McCall | 105 | 5.48 | -
019-09-07-09 | 147 | B | System 19 | 374 | DCS/374 | Globalstar | R/V Ferrel | 2009-11-18 22:00 | 2010-01-05 09:30 | R/V Ferrel | 31 | 4.23 | -
018-06-02-10 | 148 | J | System 18 |  | DCS/69 | Globalstar | DSV Gulf Freedom | 2010-10-14 | 2011-01-20 | R/V Brooks McCall | 98
019-10-27-10 | 150 | J | System 19 |  | DCS/374 | Globalstar | R/V Brooks McCall | 2011-01-20
020-02-09-10 | 151 | B | System 20 | 382 | DCS/382 | Globalstar | R/V Ferrel | 2010-02-19 02:30 | 2010-12-31 | DSV Gulf Freedom | 183 | 4.23 | -
020-11-10-10 | 152 | B | System 20 |  | DCS/382 | Globalstar | R/V Brooks McCall | 2011-01-21
40014-02-20-07 | 153 | J | 40014 | 133 | DCS3900 | Globalstar | R/V Brooks McCall | 2007-12-06 03:30 | 2008-07-07 | DSV Gulf Freedom | 214 | 5.48 | -
225M03-03-12-08 | 154 | V | 225m03 | 137 | DCS/137 | Globalstar | DSV Gulf Freedom | 2008-07-06 17:00 | 2008-09-27 15:30 | R/V Ferrel | 83 | 4.75 | -
225M03-07-17-09 | 155 | V | 225m03 | 137 | DCS/137 | Globalstar | R/V Ferrel | 2009-08-12 00:30 | 2010-12-31 | DSV Gulf Freedom | 373 | 4.75 | -
225M03-11-01-07 | 156 | V | 225m03 | 137 | DCS3900 | Globalstar | R/V Brooks McCall | 2007-11-14 01:00 | 2008-02-10 14:30 | R/V Brooks McCall | 90 | 4.75 | -
225M02-11-01-07 | 157 | N | 225m02 |  | DCS138 | Globalstar | R/V Brooks McCall | 2007-11-14 | 2008-09-27 11:00 | R/V Ferrel | 320 | 3.98 | -
225M02-07-17-09 | 158 | N | 225m02 | 138 | DCS138 | Globalstar | R/V Ferrel | 2009-08-12 18:30 | 2010-02-18 15:30 | R/V Ferrel | 190 | 3.98 | -
225M02-03-31-10 | 159 | N | 225m02 | 138 | DCS138 | Globalstar | DSV Gulf Freedom | 2010-08-19 | 0000-00-00 00:00:00 |  |  | 3.98 | -
225M01-10-06-08 | 160 | K | 225m01 | 232 | DCS3900 | Globalstar | R/V Brooks McCall | 2008-10-10 19:00 | 2010-03-24 17:30 | R/V Brooks McCall | 530 | 5.38 | -
225M01-05-10-10 | 161 | K | 225m01 | 232 | DCS3900 | Globalstar | DSV Gulf Freedom | 2010-10-15 | 2012-04-20 17:30 |  |  | 5.38 | not immediately redeployed
40014-1996-06-14 | 166 | A | 40014 |  | B-1223 | Microcom | M/V Spree | 1996-06-14 12:30 | 1996-08-14 | Gulf Coast Resp | 61 | 4.07 | -
40014-1995-09-01 | 167 | A | 40014 |  | B-1223 | Zcom | R/V Gyre | 1995-09-01 | 1995-09-19 | R/V Gyre | 18
40015-1995-08-14 | 168 | A | 40015 |  | B-1293 | Microcom | Gulf Coast Resp | 1996-08-14 | 1996-09-11 18:00 | Gulf Coast Resp | 28 | 4.07 | -
40015-1996-08-14 | 169 | A | 40015 |  | B-1293 | Microcom | Gulf Coast Resp | 1996-04-17 16:00 | 1996-06-14 12:30 | M/V Spree | 58 | 4.07 | -
50040-1996-09-11 | 170 | A | 50040 |  | B-1396 | Microcom | Gulf Coast Resp | 1996-09-11 18:00 | 1996-10-02 14:00 | M/V Spree | 21 | 4.07 | -
40017-1996-10-02 | 171 | A | 40017 |  | Unknown | Microcom | M/V Spree | 1996-10-02 14:00 | 1997-03-31 | Powell | 180 | 4.07 | -
40014-1996-10-02 | 172 | B | 40014 |  | Unknown | Microcom | Texas Responder | 1996-01-10 | 1996-03-21 | Texas Responder | 71 | 4.73 | -
40016-1998-02-20 | 173 | B | 40016 |  | B-1286 | Microcom | Texas Responder | 1998-02-20 06:30 | 1998-06-15 | R/V Gyre | 115 | 4.53 | Recovered_drifting
40016-1996-07-17 | 174 | B | 40016 |  | B-1286 | Microcom | Texas Responder | 1996-07-17 | 1996-08-07 | Texas Responder | 21 | 4.73 | -
40015-1996-11-12 | 175 | B | 40015 |  | B-1293 | Microcom | M/V Spree | 1996-11-12 | 1997-05-21 | M/V Spree | 190 | 4.63 | -
40015-1996-03-21 | 176 | B | 40015 |  | B-1293 | Microcom | M/V Spree | 1996-03-21 | 1996-05-22 | M/V Spree | 62 | 4.73 | -
50039-1998-06-15 | 177 | B | 50039 |  | B-1393 | Microcom | R/V Gyre | 1998-06-15 | 1998-07-02 00:30 | Texas Responder | 21 | 4.53 | -
50039-1997-07-23 | 178 | B | 50039 |  | B-1393 | Microcom | Texas Responder | 1997-07-23 13:30 | 1998-02-20 06:30 | Texas Responder | 212 | 4.63 | Serviced_and_redeployed
50040-1998-07-09 | 179 | B | 50040 |  | B-1396 | Microcom | Texas Responder | 1998-07-07 12:30 | 1998-09-22 18:00 | Texas Responder | 75 | 4.53 | Flooded_cell_link
50040-1996-05-22 | 180 | B | 50040 |  | B-1396 | Microcom | Texas Responder | 1996-05-22 | 1996-07-17 | Texas Responder | 56 | 4.73 | -
02-2001-05-11 | 181 | B | System 2 |  | B-1433 | Sat | R/V Longhorn | 2001-05-11 13:00 | 2001-07-09 06:00 | R/V Glorita | 58 | 4.23 | Barnacles_on_two_poles.
02-1999-04-25 | 182 | B | System 2 |  | B-1433 | Sat | R/V Gyre | 1999-04-26 | 1999-08-15 21:00 | R/V Gyre | 111 | 4.43 | -
03-1999-02-19 | 183 | B | System 3 |  | B-1492 | Sat | R/V Glorita | 1999-02-19 | 1999-02-28 | R/V Gyre | 9
05-1999-02-20 | 184 | B | System 5 |  | B-1508 | Sat | R/V Gyre | 2000-02-20 | 2000-06-02 01:00 | R/V Gyre | 133 | 4.33 | -
50039-1999-02-17 | 185 | B | 50039 |  | B-1523 | Motorola | R/V Glorita | 1999-02-15 01:30 | 1999-02-17 03:30 | R/V Glorita | 2 | 4.43 | System_3_TABS_II_buoy
80086-1998-10-29 | 186 | B | 80086 |  | B-1529 | Microcom | R/V Gyre | 1998-10-30 16:30 | 1999-02-14 06:30 | R/V Glorita | 111 | 4.53 | Serviced_and_redeployed
80086-1998-09-22 | 187 | B | 80086 |  | B-1529 | Microcom | Texas Responder | 1998-09-23 11:30 | 1998-10-29 13:30 | R/V Gyre | 37 | 4.53 | -
03-2000-11-21 | 188 | B | System 3 |  | B-1557 | Sat | R/V Gyre | 2000-11-20 20:00 | 2001-05-02 | R/V Longhorn | 162 | 4.33 | -
03-1999-08-14 | 189 | B | System 3 |  | B-1558 | Sat | R/V Gyre | 1999-08-14 | 2000-02-20 | R/V Gyre | 190
02-2002-09-13 | 190 | B | System 2 | 176 | DCS176 | Globalstar | R/V Longhorn | 2002-09-13 | 2003-01-29 | R/V Gyre | 138 | 4.23 | Replaced_DCS_sensor_44_with_176
02-2003-02-01 | 191 | B | System 2 | 223 | DCS223 | Globalstar | R/V Gyre | 2003-02-01 | 2003-07-19 | R/V Longhorn | 168 | 4.23 | -
01-2004-07-23 | 192 | B | System 1 | 352 | DCS352 | Globalstar | R/V Gyre | 2004-07-23 07:30 | 2005-01-10 | R/V Gyre | 171 | 4.23 | -
01-2004-02-22 | 193 | B | System 1 | 352 | DCS/352 | Globalstar | R/V Gyre | 2004-02-22 | 2004-07-21 | R/V Gyre | 150
08-2005-04-30 | 194 | B | System 8 | 363 | DCS352 | Globalstar | R/V Gyre | 2005-04-30 00:30 | 2005-10-10 | R/V Longhorn | 163 | 4.23 | -
08-2005-02-08 | 195 | B | System 8 | 363 | DCS352 | Globalstar | R/V Gyre | 2005-02-08 00:30 | 2005-03-19 | R/V Gyre | 39 | 4.23 | -
019-2010-01-05 | 196 | B | System 19 | 374 | DCS/374 | Globalstar | R/V Ferrel | 2010-01-05 10:00 | 2010-02-19 | R/V Ferrel | 44 | 4.23 | -
02-2002-01-23 | 197 | B | System 2 | 44 | DCS3900 | Sat | R/V Gyre | 2002-01-24 06:00 | 2002-04-15 | R/V Gyre | 82 | 4.23 | -
02-2001-07-26 | 198 | B | System 2 | 44 | DCS3900 | Sat | R/V Longhorn | 2001-07-27 09:00 | 2002-01-22 13:00 | R/V Gyre | 179 | 4.23 | -
40017-1997-05-21 | 199 | B | 40017 |  | B-1393 | Microcom | M/V Spree | 1997-05-21 | 1997-07-18 05:30 | Texas Responder | 63 | 4.63 | -
50038-1996-08-07 | 200 | B | 50038 |  | Unknown | Microcom | M/V Spree | 1996-08-07 | 1996-11-12 | M/V Spree | 97 | 4.73 | -
04-2000-06-02 | 201 | B2 | System 4 |  | DCS3500 | Sat | R/V Longhorn | 2000-06-02 01:00 | 2000-11-20 04:30 | R/V Gyre | 171 | 4.33 | Data_is_from_Buoy_B2
04-1999-12-15 | 202 | B2 | System 4 |  | DCS3500 | Sat | R/V Longhorn | 1999-12-15 | 2000-01-13 | R/V Gyre | 29
40016-1996-02-06 | 203 | C | 40016 |  | B-1286 | Microcom | M/V Spree | 1996-02-06 | 1996-04-02 20:00 | M/V Spree | 56 | 4.63 | -
40018-1996-06-20 | 204 | C | 40018 |  | B-1311 | Microcom | Texas Responder | 1996-06-20 16:30 | 1997-03-20 | Texas Responder | 273 | 4.63 | Data_stops_on_11/29/1996
40017-1995-11-30 | 205 | C | 40017 |  | Unknown | Microcom | M/V Spree | 1995-11-30 | 1996-02-06 | M/V Spree | 68 | 4.73 | -
50038-1996-04-02 | 206 | C | 50038 |  | Unknown | Microcom | M/V Spree | 1996-04-02 20:00 | 1996-06-20 12:30 | Texas Responder | 79 | 4.63 | Bad_temperature_record
40014-1998-10-14 | 207 | D | 40014 |  | B-1223 | Microcom | Lone Star Responder | 1998-10-14 17:00 | 1999-02-18 01:00 | R/V Glorita | 128 | 5.58 | Bad_data_after_12/9/1998
40014-1998-05-14 | 208 | D | 40014 |  | B-1223 | Microcom | Lone Star Responder | 1998-05-14 | 1998-08-12 11:30 | R/V Longhorn | 90 | 5.58 | Data_suspect_after_7/1/1996?
40014-1997-12-10 | 209 | D | 40014 |  | B-1223 | Microcom | Powell | 1997-12-10 | 1998-05-14 | Lone Star Responder | 155 | 5.68 | -
40014-1997-08-20 | 210 | D | 40014 |  | B-1223 | Microcom | Lone Star Responder | 1997-08-20 | 1997-11-20 17:30 | Lone Star Responder | 92 | 5.68 | Buoy_flooded_on_10/21/1997
40014-1996-08-27 | 211 | D | 40014 |  | B-1223 | Microcom | Lone Star Responder | 1996-08-27 15:30 | 1997-01-21 | M/V Fling | 147 | 5.77 | -
40015-1995-12-04 | 212 | D | 40015 |  | B-1293 | Microcom | M/V Spree | 1995-12-04 | 1996-01-10 | M/V Spree | 37
40018-1997-06-25 | 213 | D | 40018 |  | B-1311 | Microcom | Lone Star Responder | 1997-06-24 | 1997-08-20 | Lone Star Responder | 56 | 5.68 | -
50039-1997-01-21 | 214 | D | 50039 |  | B-1393 | Microcom | M/V Fling | 1997-01-21 | 1997-06-24 | Lone Star Responder | 155 | 5.68 | -
50039-1996-03-21 | 215 | D | 50039 |  | B-1393 | Microcom | M/V Spree | 1996-03-21 | 1996-07-25 06:00 | Lone Star Responder | 126 | 5.77 | -
50040-1996-07-25 | 216 | D | 50040 |  | B-1396 | Microcom | Lone Star Responder | 1996-07-25 06:00 | 1996-08-27 15:30 | Lone Star Responder | 33 | 5.77 | No_data_in_the_record
50039-1998-08-12 | 217 | D | 50039 |  | B-1523 | Microcom | R/V Longhorn | 1998-08-12 19:30 | 1998-10-13 12:30 | Lone Star Responder | 63 | 5.58 | All_data_bad._Faulty_connector_to_MMI
80085-2001-05-11 | 218 | D | 80085 |  | B-1528 | Motorola | R/V Longhorn | 2001-05-12 01:00 | 2001-08-16 | R/V Longhorn | 97 | 5.33 | Recovered_6_nmi_off_location
80085-2000-11-30 | 219 | D | 80085 |  | B-1528 | Motorola | R/V Longhorn | 2000-11-30 20:00 | 2001-04-05 03:00 | Truck | 125 | 5.42 | Recovered_on_shore._Mooring_cut
40018-2000-02-06 | 220 | D | 40018 |  | B-1531 | Motorola | R/V Longhorn | 2000-02-07 | 2000-07-14 01:30 | R/V Longhorn | 159 | 5.42 | -
40018-1999-02-19 | 221 | D | 40018 |  | B-1531 | Motorola | R/V Glorita | 1999-02-19 | 1999-06-07 | R/V Longhorn | 108
40015-2000-07-14 | 222 | D | 40015 |  | B-1539 | Motorola | R/V Longhorn | 2000-07-14 01:30 | 2000-11-30 20:00 | missing | 139 | 5.42 | Lost_on_11/30/2000
40016-1999-09-29 | 223 | D | 40016 |  | B-1561 | Motorola | R/V Longhorn | 1999-10-01 16:00 | 2000-02-07 | R/V Longhorn | 130 | 5.5 | Data_stops_on_01/01/2000
50039-2001-12-11 | 224 | D | 50039 | 17 | DCS-17 | Motorola | R/V Longhorn | 2001-12-11 21:00 | 2002-05-15 | R/V Longhorn | 155 | 5.33 | -
80085-2007-03-08 | 225 | D | 80085 | 362 | DCS/362 | Globalstar | R/V Ferrel | 2007-03-08 | 2007-12-06 | R/V Brooks McCall | 273
40014-2003-01-31 | 226 | D | 40014 | 42 | DCS-42 | Motorola | R/V Gyre | 2003-01-31 | 2003-07-18 | R/V Longhorn | 168 | 5.33 | -
109-2011-05-07 | 227 | D | 109 |  | DCS/525 | Globalstar | R/V Ferrel | 2011-05-07
40016-2001-08-16 | 228 | D | 40016 | 72 | DCS-72 | Motorola | R/V Longhorn | 2001-08-16 | 2001-12-11 21:00 | R/V Longhorn | 117 | 5.33 | -
40017-1997-11-20 | 229 | D | 40017 |  | Unknown | Microcom | Lone Star Responder | 1997-11-20 17:30 | 1997-12-10 | Powell | 20 | 5.68 | Flooded_SeaPac
40018-1996-02-02 | 230 | E | 40018 |  | B-1311 | Microcom | Lone Star Responder | 1996-02-02 | 1996-06-05 | Lone Star Responder | 124
40015-1997-12-10 | 231 | F | 40015 |  | B-1293 | Microcom | Powell | 1997-12-10 11:00 | 1998-09-22 | Texas Responder | 286 | 4.15 | Flooded_cell_link._Data_ceases_after_9/1/1998
50039-1996-08-07 | 232 | F | 50039 |  | B-1393 | Microcom | M/V Spree | 1996-08-07 13:00 | 1996-11-12 | M/V Spree | 97 | 4.35 | -
50040-1998-10-28 | 233 | F | 50040 |  | B-1396 | Microcom | R/V Gyre | 1998-10-28 12:30 | 1999-04-26 | R/V Gyre | 180 | 4.15 | -
50040-1996-11-12 | 234 | F | 50040 |  | B-1396 | Microcom | M/V Spree | 1996-11-12 | 1997-03-25 13:00 | Powell | 133 | 4.35 | -
80086-1999-11-12 | 235 | F | 80086 |  | B-1529 | Motorola | R/V Gyre | 1999-04-26 | 1999-08-16 04:00 | R/V Gyre | 110 | 4.05 | -
40015-1999-12-01 | 236 | F | 40015 |  | B-1539 | Motorola | R/V Gyre | 1999-12-01 08:00 | 2000-02-18 | R/V Gyre | 79 | 3.95 | -
40014-2000-11-21 | 237 | F | 40014 |  | B-1561 | Motorola | R/V Gyre | 2000-11-21 08:30 | 2001-03-27 05:00 | R/V Gyre | 125 | 3.53 | Data_ceases_on_12/24/2000.
50040-1999-08-14 | 238 | F | 50040 |  | B-1560 | Motorola | R/V Gyre | 1999-08-14 | 1999-12-01 | R/V Gyre
80086-2001-07-08 | 239 | F | 80086 | 16 | DCS3900 | Motorola | R/V Glorita | 2001-07-09 02:30 | 2001-09-22 18:00 | R/V Gyre | 77 | 3.83 | New_top_design._Data_ceases_after_7/30/2001
80086-2001-03-21 | 240 | F | 80086 | 16 | DCS/16 | Motorola | R/V Gyre | 2001-03-21 | 2001-06-19 | R/V Gyre | 90
50039-2004-02-24 | 241 | F | 50039 | 17 | DCS3900 | Motorola | R/V Gyre | 2004-02-24 09:30 | 2004-03-21 02:00 | R/V Gyre | 25 | 3.83 | -
80085-2011-05-07 | 242 | F | 80085 |  | DCS/233 | Globalstar | R/V Ferrel | 2011-05-07
109-2005-02-08 | 243 | F | 109 | 378 | DCS3900 | Globalstar | R/V Gyre | 2005-02-08 00:30 | 2006-02-21 18:30 | R/V Gyre | 378 | 3.83 | -
111-2001-09-22 | 244 | F | 111 | 73 | DCS3900 | Motorola | R/V Gyre | 2001-09-22 18:00 | 2002-04-17 | R/V Gyre | 207 | 3.83 | -
40017-1996-02-22 | 245 | F | 40017 |  |  | Microcom | M/V Spree | 1996-02-22 | 1996-08-07 | M/V Spree | 167
50038-1997-03-25 | 246 | F | 50038 |  | Unknown | Microcom | Powell | 1997-03-26 01:00 | 1997-12-10 11:00 | missing | 260 | 4.25 | Flooded_SeaPac
40014-1997-03-11 | 247 | G | 40014 |  | B-1223 | Microcom | Gulf Coast Resp | 1997-03-11 17:30 | 1997-05-21 | M/V Spree | 71 | 3.75 | -
50039-1998-05-23 | 248 | G | 50039 |  | B-1293 | Microcom | R/V Gyre | 1998-05-23 13:00 | 1998-06-15 13:00 | R/V Gyre | 23 | 3.65 | Flooded_sensor.
50040-1997-10-27 | 249 | G | 50040 |  | B-1396 | Microcom | R/V Gyre | 1997-10-27 | 1998-05-23 13:00 | R/V Gyre | 208 | 3.75 | Badly_fouled_sensor.
50040-1997-05-21 | 250 | G | 50040 |  | B-1396 | Microcom | M/V Spree | 1997-05-21 | 1997-10-27 | R/V Gyre | 159 | 3.75 | -
40015-1997-06-02 | 251 | H | 40015 |  | - | Microcom | M/V Spree | 1997-06-05 | 1997-10-29 | M/V Spree | 149 | 5.55 | -
40018-1997-10-29 | 252 | H | 40018 |  | - | Microcom | M/V Spree | 1997-10-29 | 1998-06-22 17:00 | R/V Longhorn | 287 | 5.55 | -
007-2006-08-23 | 253 | H | Discus 007 |  | RCM-9 1097 | Globalstar | R/V Longhorn | 2006-08-24 00:30 | 2007-12-31 | DSV Gulf Freedom | 685 | 5.55 | -
007-2005-08-27 | 254 | H | Discus 007 |  | RCM-9 1097 | Globalstar | R/V Gyre | 2005-08-27 18:00 | 2005-10-14 10:30 | R/V Gyre | 191 | 5.55 | -
01-1998-02-20 | 255 | I | System 1 |  | B-1536 | Sat | Texas Responder | 1998-02-20 | 1998-05-02 | R/V Gyre | 71
01-1998-01-20 | 256 | I | System 1 |  | B-1536 | Sat | Texas Responder | 1998-01-20 | 1998-02-20 | Texas Responder | 31
02-2000-10-21 | 257 | J | System 2 |  | B-1433 | Sat | R/V Longhorn | 2000-10-21 13:00 | 2001-04-27 13:30 | R/V Longhorn | 187 | 5.57 | Velocity_data_ceases_after_3/28/2001.
02-2000-02-07 | 258 | J | System 2 |  | B-1433 | Sat | R/V Longhorn | 2000-02-07 15:00 | 2000-04-17 | R/V Longhorn | 60 | 5.57 | Recovered_drifting.
02-1998-10-14 | 259 | J | System 2 |  | B-1533 | Sat | Lone Star Responder | 1998-10-15 | 1999-02-17 23:30 | R/V Glorita | 127 | 5.73 | -
01-1998-05-13 | 260 | J | System 1 |  | B-1536 | Sat | Lone Star Responder | 1998-05-13 16:00 | 1998-08-11 | R/V Longhorn | 90 | 5.73 | Hit_by_ship._Data_ceases_after_7/16/1998.
06-1999-02-18 | 261 | J | System 6 |  | B-1509 | Sat | R/V Glorita | 1999-02-18 18:00 | 1999-08-22 06:00 | R/V Longhorn | 354 | 5.38 | Lost_during_Hurricane_Brett._Data_ceases_on_8/22/1
08-2009-11-20 | 262 | J | System 8 | 209 | DCS3900 | Globalstar | R/V Ferrel | 2009-11-20 16:00 | 2010-03-25 06:30 | R/V Brooks McCall | 125 | 5.48 | -
09-2005-05-17 | 263 | J | System 9 | 221 | DCS3900 | Globalstar | R/V Gyre | 2005-05-17 10:30 | 2005-08-12 15:00 | R/V Longhorn | 87 | 5.48 | -
019-2010-03-25 | 264 | J | System 19 | 374 | DCS3900 | Globalstar | R/V Brooks McCall | 2010-03-25 07:00 | 2010-12-31 | DSV Gulf Freedom | 203 | 5.48 | -
03-2001-05-10 | 265 | J | System 3 | 45 | DCS3900 | Sat | R/V Longhorn | 2001-05-10 13:30 | 2001-11-27 14:00 | R/V Longhorn | 201 | 5.48 | RSM_clock_error._Since_repaired.
04-2003-01-30 | 266 | J | System 4 | 45 | DCS/45 | Globalstar | R/V Gyre | 2003-01-30 | 2003-09-09 | R/V Gyre | 222
01-2001-11-27 | 267 | J | System 1 | 96 | DCS3900 | Sat | R/V Longhorn | 2001-11-27 14:00 | 2002-05-15 | R/V Longhorn | 169 | 5.48 | -
01-2001-04-17 | 268 | J | System 1 |  |  | Sat | R/V Longhorn | 2001-04-17 | 2001-09-25 | R/V Longhorn | 161
03-1998-10-14 | 269 | K | System 3 |  | B-1492 | Sat | Lone Star Responder | 1998-10-15 02:30 | 1999-02-18 18:00 | R/V Glorita | 127 | 5.47 | Damaged_by_collision
03-1998-05-13 | 270 | K | System 3 |  | B-1492 | Sat | Lone Star Responder | 1998-05-13 | 1998-08-11 | R/V Longhorn | 90
01-1999-02-18 | 271 | K | System 1 |  | B-1536 | Sat | R/V Glorita | 1999-02-18 23:00 | 2000-02-07 15:00 | R/V Longhorn | 545 | 5.65 | Failed_postcruise_calibration_test._Data_ceases_af
017-1999-02-18 | 272 | K | System 17 | 44 | B-1509 | Globalstar | R/V Gyre | 2004-03-20 | 2004-05-14 09:30 | missing | 110 | 5.38 | -
017-2003-09-09 | 273 | K | System 17 | 44 | DCS3900R | Globalstar | R/V Gyre | 2003-09-10 | 2004-03-19 12:30 | R/V Gyre | 192 | 5.38 | -
06-1998-04-20 | 274 | L | System 6 |  | B-1509 | Sat | R/V Gyre | 1998-04-20 04:00 | 1998-10-28 18:30 | R/V Gyre | 191 | 4.15 | -
04-1998-04-20 | 275 | M | System 4 |  | B-1507 | ZyXell | R/V Gyre | 1998-04-20 | 1998-10-28 | R/V Gyre | 191
05-1999-03-01 | 276 | M | System 5 |  | B-1359 | Sat | R/V Gyre | 1999-03-01 02:30 | 1999-08-15 | R/V Gyre | 275 | 3.65 | -
07-1999-03-01 | 277 | N | System 7 |  | ADCP-003 | Sat | R/V Gyre | 1999-03-01 19:00 | 1999-08-15 02:00 | R/V Gyre | 275 | 3.98 | Data_ceases_after_9/12/1999
07-1998-05-24 | 278 | N | System 7 |  | ADCP-003 | ZyXell | R/V Gyre | 1998-05-24 | 1998-10-28 | R/V Gyre | 157
07-1998-04-20 | 279 | N | System 7 |  | ADCP-016 | ZyXell | R/V Gyre | 1998-04-20 | 1998-04-23 | R/V Gyre | 3
07-1998-04-01 | 280 | N | System 7 |  | ADCP-016 | ZyXell | R/V Gyre | 1998-04-01 | 1998-04-20 | R/V Gyre | 19
016-2002-07-25 | 281 | N | System 16 | 94 | DCS094 | Globalstar | R/V Longhorn | 2002-07-25 | 2002-11-09 | R/V Gyre | 107 | 3.98 | -
016-2002-01-22 | 282 | N | System 16 | 94 | DCS/094 | Globalstar | R/V Gyre | 2002-01-22 | 2002-07-12 | R/V Gyre | 171
011-2005-04-23 | 283 | N | System 11 | 273 | DCS094 | Globalstar | R/V Gyre | 2005-04-23 00:30 | 2005-09-25 | missing | 154 | 3.98 | -
016-2004-07-21 | 284 | N | System 16 | 276 | DCS094 | Globalstar | R/V Gyre | 2004-07-22 04:30 | 2005-04-23 | R/V Gyre | 202 | 3.98 | -
10-2005-02-09 | 285 | N | System 10 | 350 | DCS/350 | Globalstar | R/V Gyre | 2005-02-09 | 2005-05-23 | R/V Gyre | 103
40016-1999-03-01 | 286 | P | 40016 |  | B-1286 | Motorola | R/V Gyre | 1999-03-01 08:30 | 1999-12-01 | R/V Gyre | 167 | 3.12 | Failed_postcruise_calibration_test.
05-1998-07-21 | 287 | P | System 5 |  | B-1508 | Sat | R/V Gyre | 1998-07-21 | 1998-11-24 | R/V Gyre | 126
40014-1999-08-15 | 288 | P | 40014 |  | Unknown | Motorola | R/V Gyre | 1999-08-15 | 2000-02-19 16:30 | R/V Gyre | 188 | 3.12 | -
40016-1998-07-21 | 289 | R | 40016 |  | B-1286 | Microcom | R/V Gyre | 1998-07-21 11:00 | 1998-09-25 | Truck | 66 | 3.75 | Recovered_on_Matagorda_Island
40014-2000-09-07 | 290 | R | 40014 |  | B-1557 | Motorola | R/V Longhorn | 2000-09-08 13:30 | 2000-09-25 14:30 | R/V Gyre | 18 | 3.53 | Lost_communications._Broken_cellular_antenna.
50039-1999-08-15 | 291 | R | 50039 |  | B-1559 | Motorola | R/V Gyre | 1999-08-15 | 2000-02-19 09:30 | R/V Gyre | 188 | 3.65 | Sensor_failed_during_postcruise_calibration_test._
50040-2000-02-19 | 292 | R | 50040 |  | B-1560 | Motorola | R/V Gyre | 2000-02-19 09:30 | 2000-06-02 11:30 | Truck | 962 | 3.53 | Buoy_lost._Last_communicated_on_4/11/2000.
40016-2000-11-22 | 293 | R | 40016 |  | B-1561 | Motorola | R/V Gyre | 2000-11-22 | 2001-03-26 | R/V Gyre | 124
40016-2000-06-01 | 294 | R | 40016 |  | B-1561 | Motorola | R/V Longhorn | 2000-06-02 11:30 | 2000-09-08 13:30 | R/V Longhorn | 98 | Data_ceases_on_7/23/2000. | Data_ceases_on_7/23/2000. | Data_ceases_on_7/23/2000.
80086-2002-01-23 | 295 | R | 80086 | 16 | DCS/16 | Motorola | R/V Gyre | 2002-01-23 | 2002-07-13 | R/V Gyre | 171
50039-2001-03-26 | 296 | R | 50039 | 17 | DCS3900 | Motorola | R/V Gyre | 2001-03-27 05:00 | 2001-09-23 | R/V Gyre | 181 | 3.43 | -
40018-2001-09-23 | 297 | R | 40018 | 20 | DCS3900 | Motorola | R/V Gyre | 2001-09-23 | 2002-01-23 | R/V Gyre | 122 | 3.43 | -
110-2011-05-09 | 298 | R | 110 |  | DCS3900 | Globalstar | R/V Ferrel | 2011-05-10 | 2010-12-31 |  |  | 3.43 | -
80086-2009-12-18 | 299 | R | 80086 |  | DCS/66 | Globalstar | R/V Ferrel | 2009-12-18 | 2010-08-20 | DSV Gulf Freedom | 245
40016-2009-11-22 | 300 | R | 40016 | 69 | DCS3900 | Globalstar | R/V Ferrel | 2009-11-22 | 2010-12-31 | R/V Ferrel | 26 | 3.43 | -
50039-1999-04-26 | 301 | S | 50039 |  | B-1523 | Motorola | R/V Gyre | 1999-04-26 | 1999-06-08 04:00 | R/V Longhorn | 42 | 3.22 | -
50039-1999-02-19 | 302 | S | 50039 |  | B-1523 | Motorola | R/V Glorita | 1999-02-19 14:00 | 1999-03-23 | Truck | 32 | 3.22 | Recovered_on_Matagorda_Island.
80086-2000-09-07 | 303 | S | 80086 |  | B-1529 | Motorola | R/V Longhorn | 2000-09-07 13:00 | 2000-12-19 | Coast Guard | 103 | 3.1 | Went_adrift_on_12/17/2000.
80086-1999-12-14 | 304 | S | 80086 |  | B-1529 | Motorola | R/V Longhorn | 1999-12-14 20:00 | 2000-06-04 16:00 | R/V Longhorn | 171 | 3.1 | -
40018-2000-07-20 | 305 | S | 40018 |  | B-1531 | Motorola | R/V Longhorn | 2000-07-20 | 2000-09-07 13:00 | R/V Longhorn | 160 | 3.1 | Recovered_on_San_Jose_Island.
40018-1999-06-07 | 306 | S | 40018 |  | B-1531 | Motorola | R/V Longhorn | 1999-06-08 04:00 | 1999-12-14 20:00 | R/V Longhorn | 190 | 3.22 | Recovered_on_the_beach_south_of_Corpus_Christi.
40018-2001-03-27 | 307 | S | 40018 | 20 | DCS3500 | Motorola | R/V Gyre | 2001-03-27 12:00 | 2001-07-26 | R/V Longhorn | 121 | 3 | Recovered_with_bent_hull._Site_discontinued_in_fav
06-2001-10-06 | 308 | T | System 6 | 1500 | 1500 | Sat | R/V Pelican | 2001-10-06 | 2002-01-30 | Tommy Munroe | 116
06-2001-05-23 | 309 | T | System 6 |  | 1500 | Sat | R/V Pelican | 2001-05-23 | 2001-07-26 | Tommy Munroe | 64
06-2001-02-19 | 310 | T | System 6 |  | 1500 | Sat | R/V Pelican | 2001-02-19 | 2001-05-23 | R/V Pelican | 93
05-2001-10-07 | 311 | U | System 5 |  | ADCP-1033 | Sat | R/V Pelican | 2001-10-07 | 2002-01-30 | Tommy Munroe | 115
05-2001-05-23 | 312 | U | System 5 |  | ADCP-1033 | Sat | R/V Pelican | 2001-05-23 | 2001-07-26 | Tommy Munroe | 64
05-2001-02-19 | 313 | U | System 5 |  | ADCP-1033 | Sat | R/V Pelican | 2001-02-19 | 2001-03-24 | R/V Gyre | 33
07-2001-03-21 | 314 | V | System 7 |  | ADCP003 | Sat | R/V Gyre | 2001-03-21 | 2001-09-23 22:30 | R/V Gyre | 186 | 4.75 | Data_from_first_bin_of_ADCP
07-2002-01-22 | 315 | V | System 7 | 95 | DCS095 | Sat | R/V Gyre | 2002-01-22 | 2002-04-17 | missing | 85 | 4.75 | -
03-2010-08-20 | 316 | V | 225m03 |  | DCS/137 | Globalstar | DSV Gulf Freedom | 2010-08-20 | 2011-05-06 | R/V Ferrel | 259
06-2006-03-04 | 317 | V | System 6 | 222 | DCS/222 | Globalstar | R/V Gyre | 2006-03-06 04:00 | 2006-08-25 | R/V Longhorn | 173 | 4.75 | -
016-2005-02-09 | 318 | V | System 16 | 276 | DCS70 | Globalstar | R/V Gyre | 2005-02-09 00:30 | 2005-09-25 | missing | 227 | 4.75 | -
015-2003-02-19 | 319 | V | System 15 | 70 | DCS70 | Globalstar | R/V Gyre | 2003-01-29 | 2003-07-14 | missing | 166 | 4.75 | -
50039-2011-05-07 | 320 | W | 50039 |  | DCS/126 | Globalstar | R/V Ferrel | 2011-05-07
109-2001-11-27 | 321 | W | 109 | 31 | DCS3900R | Motorola | R/V Longhorn | 2001-11-28 01:00 | 2002-01-08 23:30 | R/V Longhorn | 169 | 3.37 | Wireless_communication_of_data
50040-2005-08-13 | 322 | W | 50040 | 506 | DCS3900R | Globalstar | R/V Longhorn | 2005-08-14 00:30 | 2006-02-03 13:30 | R/V Gyre | 14 | 3.37 | Wireless_communication_of_data
80086-2007-12-07 | 323 | W | 80086 | 66 | DCS3900R | Globalstar | R/V Brooks McCall | 2007-12-07 15:30 | 2008-01-01 03:30 | Truck | 32 | 3.37 | Went_adrift_on_01/01/2008.
04-2001-07-17 | 324 | X | System 4 |  | DCS43/ADCP | Motorola | USNS Sumner | 2001-07-17 | 2001-11-26 | USNS Salvor | 132
40014-2001-07-17 | 325 | Y | 40014 | 42 | DCS/42 | Motorola | USNS Sumner | 2001-07-17 | 2001-11-26 | USNS Salvor | 132
C-1995-04-02 | 326 | C |  |  | Unknown |  |  | 1995-04-02 00:30 | 1995-11-30 |  |  | 4.73 | -
B-1995-04-03 | 327 | B |  |  | Unknown |  |  | 1995-04-03 | 1995-08-23 15:00 |  |  | 4.82 | -
E-1995-06-01 | 328 | E |  |  | Unknown |  |  | 1995-06-01 | 1996-01-16 14:00 |  |  | 6 | -
D-1995-06-12 | 329 | D |  |  | Unknown |  |  | 1995-06-12 18:30 | 1995-09-10 |  |  | 5.85 | -
A-1995-06-21 | 330 | A |  |  | Unknown |  |  | 1995-06-21 17:00 | 1995-07-09 23:30 |  |  | 4.17 | Faulty_compass
A-1995-08-12 | 331 | A |  |  | B-1223 |  |  | 1995-08-12 | 1995-10-08 23:30 |  |  | 4.17 | -
B-1995-08-31 | 332 | B |  |  | Unknown |  |  | 1995-08-31 18:30 | 1996-01-10 |  |  | 4.82 | -
D-1995-09-10 | 333 | D |  |  | B-1293 |  |  | 1995-09-10 06:00 | 1996-01-09 23:30 |  |  | 5.85 | -
D-1996-01-10 | 334 | D |  |  | Unknown |  |  | 1996-01-10 | 1996-03-21 |  |  | 5.77 | -
F-1996-02-23 | 335 | F |  |  | Unknown |  |  | 1996-02-23 | 1996-08-07 13:00 |  |  | 4.35 | -
K-1998-05-15 | 336 | K |  |  | B-1492 |  |  | 1998-05-15 02:00 | 1998-08-11 |  |  | 5.47 | Damaged_by_collision._Data_ceases_on_7/1/1998
P-1998-07-22 | 337 | P |  |  | B-1508 |  |  | 1998-07-22 | 1998-11-25 15:00 |  |  | 3.22 | #NAME?
D-1999-02-18 | 338 | D |  |  | B-1531 |  |  | 1999-02-18 01:00 | 1999-06-07 19:30 |  |  | 5.5 | -
B-1999-02-22 | 339 | B |  |  | B-1492 |  |  | 1999-02-22 05:30 | 1999-02-28 14:00 |  |  | 4.43 | -
M-1999-03-02 | 340 | M |  |  | B-1508 |  |  | 1999-03-02 | 1999-12-01 01:30 |  |  | 4.05 | -
B-1999-03-02 | 341 | B |  |  | Unknown |  |  | 1999-03-02 07:30 | 1999-04-26 |  |  | 4.43 | -
S-1999-03-23 | 342 | S |  |  | Unknown |  |  | 1999-03-23 | 1999-04-26 |  |  | 3.22 | -
F-1999-08-16 | 343 | F |  |  | B-1560 |  |  | 1999-08-16 04:00 | 1999-12-01 |  |  | 4.05 | No_data_in_the_record
B-1999-08-16 | 344 | B |  |  | B-1558 |  |  | 1999-08-16 04:30 | 2000-02-20 |  |  | 4.43 | -
F-2000-02-18 | 345 | F |  |  | Unknown |  |  | 2000-02-18 | 2000-09-28 07:00 |  |  | 3.95 | -.
J-2000-04-17 | 346 | J |  |  | Unknown |  |  | 2000-04-17 | 2000-09-25 06:00 |  |  | 5.57 | Recovered_drifting.
S-2000-06-04 | 347 | S |  |  | Unknown |  |  | 2000-06-04 16:00 | 2000-07-20 |  |  | 3.1 | -
F-2001-03-28 | 348 | F |  |  | DCS3900 |  |  | 2001-03-28 13:00 | 2001-06-19 |  |  | 3.83 | Stopped_communicating._Data_ceases_after_5/18/2001
F-2002-09-11 | 349 | F |  |  | DCS3900 |  |  | 2002-09-11 | 2002-12-31 |  |  | 3.83 | -
N-2003-01-30 | 350 | N |  | 94 | DCS094 |  |  | 2003-01-30 04:00 | 2003-08-03 20:30 |  |  | 3.98 | Lost_during_Hurricane_Claudette._Data_ends_07/14/2
F-2003-07-23 | 351 | F |  |  | DCS3900 |  |  | 2003-07-23 | 2004-02-24 03:30 |  |  | 3.83 | -
R-2003-07-23 | 352 | R |  |  | DCS3900 |  |  | 2003-07-23 05:30 | 2003-09-09 17:00 |  |  | 3.43 | -
R-2003-09-09 | 353 | R |  |  | DCS3900 |  |  | 2003-09-09 19:30 | 2004-02-24 19:30 |  |  | 3.43 | -
B-2004-02-25 | 354 | B |  |  | DCS352 |  |  | 2004-02-25 02:30 | 2004-07-21 09:30 |  |  | 4.23 | -
R-2004-02-25 | 355 | R |  |  | DCS3900 |  |  | 2004-02-25 05:00 | 2004-03-21 03:30 |  |  | 3.43 | -
K-2006-02-04 | 356 | K |  |  | B-1509 |  |  | 2006-02-04 20:00 | 2006-09-14 16:30 |  |  | 5.38 | -
J-2007-03-08 | 357 | J |  |  | DCS3900 |  |  | 2007-03-08 20:30 | 2007-05-03 |  |  | 5.48 | Beach_recovery
D-2007-03-11 | 358 | D |  |  | DCS-278 |  |  | 2007-03-11 03:00 | 2007-12-06 22:00 |  |  | 5.33 | Current_data_highly_suspect_from_October_on_due_to
42035-2007-05-18 | 359 | 42035 |  |  | DACT |  |  | 2007-05-18 18:00 | 2008-12-31 |  |  | 3.37 | -
F-2008-09-26 | 360 | F |  |  | DCS3900 |  |  | 2008-09-26 15:00 | 2009-05-26 |  |  | 3.83 | Adrift_from_3/14/08_to_5/26/08
N-2008-09-28 | 361 | N |  |  | DCS094 |  |  | 2008-09-28 | 2009-08-12 15:00 |  |  | 3.98 | -
v-2008-09-28 | 362 | V |  |  | DCS70 |  |  | 2008-09-28 12:30 | 2009-03-04 12:00 |  |  | 4.75 | Went_adrift_on_02/18/2009.
V-2010-10-20 | 363 | V |  |  | DCS70 |  |  | 2010-10-20 23:24 | 2012-04-19 21:10 |  |  | 4.75 | no sessions
D-2010-10-28 | 364 | D |  |  | DCS-278 |  |  | 2010-10-28 05:00 | 2010-04-12 12:00 |  |  | 5.33 | deploy_time_guess
B-2011-08-26 | 365 | B |  |  | DCS352 |  |  | 2011-08-26 02:30 | 2012-02-23 17:00 |  |  | 4.23 | no incident
J-2011-08-27 | 366 | J |  |  | DCS3900 |  |  | 2011-08-28 | 2012-04-21 03:10 |  |  | 5.48 | -
V-2011-10-26 | 367 | V |  |  | DCS70 |  |  | 2011-10-26 23:24 | 2012-02-29 02:30 |  |  | 4.75 | 2012-02-29 02:30
F-2011-10-27 | 368 | F |  |  | DCS3900 |  |  | 2011-10-28 | 2011-12-20 07:40 |  |  | 3.83 | recovered adrift
D-2011-10-28 | 369 | D |  |  | U |  |  | 2011-10-28 13:00 | 2011-12-20 12:00 |  |  | 0 | recovered adrift buoy
W-2011-10-28 | 370 | W |  |  | DCS3900R |  |  | 2011-10-29 | 2012-02-25 05:15 |  |  | 3.37 | 28.3539
R-2011-10-29 | 371 | R |  |  | DCS3900 |  |  | 2011-10-29 16:30 | 2012-04-23 06:10 |  |  | 3.43 | -
D-2011-10-28 | 372 | D |  | 126 | DCS3900 |  |  | 2011-10-28 | 2011-12-20 |  |  | 0 | new buoy
D-2011-12-20 | 373 | D |  | 50039 | DCS3900 |  |  | 2011-12-20 |  |  |  | \N | redeployed adrift buoy
F-2011-12-21 | 374 | F |  |  | DCS3900 |  |  | 2011-12-21 05:15 | 2012-02-23 07:15 |  |  | 2.83 | 28.863
V-2012-02-22 | 375 | V |  |  | \N |  |  | 2012-02-22 02:32 | 2012-04-19 21:10 |  |  | \N | deployed a TABS II
R003-2012-02-22 | 376 | R003 |  |  | U |  |  | 2012-02-22 10:40 | 2012-02-26 18:45 |  |  | 0 | Test
F-2012-02-23 | 377 | F |  |  | U |  |  | 2012-02-23 14:00 | 0000-00-00 00:00:00 |  |  | 0
B-2012-02-23 | 378 | B |  |  | U |  |  | 2012-02-23 19:30 | 0000-00-00 00:00:00 |  |  | 0
W-2012-02-25 | 379 | W |  |  | \N |  |  | 2012-02-25 06:24 | 2012-04-22 11:30 |  |  | \N | high winds
V2012-04-19 | 380 | V |  |  | \N |  |  | 2012-04-19 21:30 | 0000-00-00 00:00:00 |  |  | \N
J-2012-04-21 | 381 | J |  |  | \N |  |  | 2012-04-21 04:00 | 0000-00-00 00:00:00 |  |  | \N
W-2012-04-22 | 382 | W |  |  | \N |  |  | 2012-04-22 12:35 | 0000-00-00 00:00:00 |  |  | \N
R-2012-04-23 | 383 | R |  |  | \N |  |  | 2012-04-23 06:35 | 0000-00-00 00:00:00 |  |  | \N
K | 384 | K |  |  | \N |  |  | 0000-00-00 00:00:00 | 2012-04-20 22:30 |  |  | \N